## Sheet1
Outdoor Design Temp | 6
2nd Floor: 2008 2x4 Construction, 3.5 bedroom, 2 bath, 1073 SF
Floor 2 Indoor Temp | 70
| Area/Volume | DTM | U Value | BTU Load | Total
Walls 2 SF | 1122 | 64 | 0.084459 | 6064.8649 | 14875.1049
Windows 2 SF | 138 | 64 | 0.32 | 2826.24
Ceiling 2 SF | 1073 | 0 | 0.040776 | 0
Fresh Air CFM | 50 | 64 |  | 3520
Infiltration CFM | 35 | 64 |  | 2464
3rd Floor: Cathedral Ceiling - 2x10 w/1" Polyiso furring, 3" ccSPF, 7.5" Rockwool; Walls 2x4 1.5" ccSPF, 3.5" Rockwool. 1073SF (800SF inside knee walls)
Floor 3 Indoor Temp | 70
| Area/Volume | DTM | U Value | BTU Load | Total
Walls 3 SF | 517 | 64 | 0.046642 | 1543.2836 | 6085.8667
Windows 3 SF | 42 | 64 | 0.32 | 860.16
Ceiling 3 SF | 1550 | 64 | 0.026476 | 2626.4231
Infiltration CFM | 15 | 64 |  | 1056
Heat From 2nd Floor |  |  |  | 0
|  |  |  | Total | 20960.9715